Mayo Clinic Brain Tumor Patient-Derived Xenograft (PDX) National Resource

Instructions For Cryopreservation of PDX Flank Tumor Tissue

A few important notes:

- Users are responsible for acquiring the appropriate institutional approvals before engraftment.

  - These institutional approvals will likely influence how the below protocol can be executed.  It is the user’s responsibility to modify the below generic protocol to meet their institution’s requirements.

- With each tumor passage, tissue samples are routinely archived in liquid nitrogen and/or paraffin.

  - Cryopreservation in early generations is important to build up stores for restoration purposes.

- Each PDX line provided will have a unique lineage which is highlighted and explained below.  You should commit the lineage(s) you receive from us to your records somewhere should there be a need to refer back to this in the future.

  - Example:  12, 16, 14, 10

    - 12:  The GBM PDX line.  Came from the 12th patient tumor xenografted.

    - 16:  Mouse number with the GBM flank tumor

    - 14:  Previous mouse flank number.  #14 flank tumor was passaged to #16 flank.

    - 10:  Tumor generation.  Number of times the tumor was passed from mouse-to-mouse.

    - VF:  Virus-Free.  At one point, this line was cleared of the LDEV mouse virus.

      - We no longer test for this as the virus does not affect our studies.

    - G:  Our abbreviation for Glioblastoma or GBM

Cryopreservation of xenograft tissue

Materials:

- Mouse bearing tumor measuring 1 to 1.5 cm in greatest dimension (for cryopreservation)

- Freezing Media:

  - DMEM (Mediatech)

  - Penicillin/Streptomycin (Cellgro; 5000 I.U./mL Pen, 5000 μg/mL strep (P/S))

  - DMSO (Fisher Scientific)

  - Fetal Bovine Serum (FBS) Premium (Atlanta Biologicals)

- 150-mL sterile filter (Nalgene)

- CO2 source

- Betadine

- #10 Scalpels

- Sterile Culture Plates or petri dishes

- 1-cc syringe

- 1.8-mL Cryogenic vial (cryo-vial) (Corning or Nunc)

- Cryo 1°C Freezing Container (Nalgene)

- -80oC Freezer

- Liquid Nitrogen tank

- Identify an appropriate mouse tumor for use, preferably measuring 1 to 1.5 cm in greatest dimension. Label the cryo-vials with the lineage information for the tissue that is being preserved prior to euthanizing the mouse.

- Make up freezing media by combining:

- 50 mL of FBS

- 15 mL DMSO

- 85 mL of DMEM media supplemented with 10% FBS, 1% penicillin, and 1% streptomycin.

- Sterile filter and store at 4°C for up to 3 months.

- Prior to euthanizing the animal, label all specimen containers/cryo-vials with tumor lineage and passage information. Recording the date, lineage, and passage information data in a file will be important for experimental tracking and future studies.

- Euthanize the tumor-bearing mouse by CO2 and swab the tumor area with Betadine.

- Cut out the tumor using a sterile scalpel, separate the tumor from the skin, and process as previously described by mincing the tumor with sterile scalpels in a sterile culture or petri dish.

- Use a 1cc syringe to break the tumor into smaller chunks, pull up ~0.5cc of tumor into the syringe, and then pull up ~0.5 cc of freezing media.

- Place tumor and freezing media into a pre-labeled cryo-vial (from step 3). Set tissue aside on ice.

- Place cryo-vials into a freezing container and place into a −80°C freezer overnight. Transfer the cryo-preserved tissue from the −80°C freezer into a liquid nitrogen storage tank the next day for long-term storage.

- Record the pertinent tumor information on the tissue preserved and the archival location in a file exclusively for tracking xenograft information (e.g., an Excel spreadsheet).